(FORM D)

ACADEMIC ACCREDITATION GUIDELINES FOR PROFESSIONAL TRAINING INSTITUTIONS OFFERING PROSTHETICS & ORTHOTICS TRAINING IN NIGERIA

In line with sections 11-14 of the enabling law (Decree 38 of 1988/M9 LFN 2004) of the Board MRTB, established for the regulation and control of training and practice of Physiotherapy, Occupational Therapy, Speech Therapy, Audiology, Prosthetics & Orthotics, Chiropractic and Osteopathic Medicine Professions in Nigeria hereby decrees as follows:

- The Programme

All Professional Training Institutions offering Prosthetics & Orthotics technology courses in Nigeria shall be subject to a pre-accreditation visit and an eventual accreditation exercise by the Board (MRTB).

- Diploma

All Professional Training Institutions offering Prosthetics & Orthotics courses in Nigeria at the diploma level shall be headed by a Master’s degree holder of not less than a Principal Officer of eight (8) to ten (10) years post-qualification experience who is a registered and currently licensed Prosthetist and Orthotist with the Board MRTB in Nigeria.

The head shall be assisted by not less than five (5) other Registered and currently licensed Prosthetist and Orthotist as lecturers and Clinical Co-ordinators.

- Degree

All Professional Training Institutions running Prosthetics & Orthotics programmes in Nigeria at degree level shall be headed by a Ph.D. holder of not less than a Chief Officer of eight (8) to ten (10) years post qualification experience who is a registered and currently licensed Prosthetist and Orthotist with the Board MRTB in Nigeria.

The head would be assisted with not less than five (5) other registered post graduates degre holders and currently licensed Prosthetist and Orthotist as lecturers and Clinical Co-ordinators.

- Curriculum

A copy of the approved curriculum for the training programme should be included and well spelt out and captured in the student’s handbook.

The courses should be relevant to the basic minimum acceptable standards, input and process expected to be acquired by an average graduate of the programme.

6.	Programme Philosophy and Objectives

The philosophy and objectives of the programme must be well stated in the handbook designed to develop adequate theoretical knowledge, and sense of purpose, and be capable of providing excellent services in any practice environment.

7.	Admission Requirements

The admission requirement into the programme must be clearly stated in the handbook and students must satisfy the ‘O’ level requirements.

8.	Student Enrolment

All Institutions must meet the required maximum entry point approved for the programme to accommodate the student/lecturer ratio

9.        Practical demonstrations/Laboratories

Practical demonstration rooms and laboratories in the programme must be indicated and spelt out in the curriculum/handbook.

10.	Academic Regulations

The conditions for progression from one level to the next level should be clearly stated in the handbook. Emphasis on failures and resit should be well captured.

11.	Course Evaluation

The approaches (written/theoretical and practical) should be used for teaching and be well stated and captured for both tests and the actual examinations in the hand book.

Adequate human, physical, equipment, and library facilities in all learning areas with strong information technology infrastructure must be provided for teaching and learning.

12.      External Examination

An external examiner shall moderate examinations in practical courses. External Examination system should be maintained and reports should be thoroughly reviewed and submitted.

The Registrar or their representatives shall be included to serve as external examiners in all final year professional examinations as may be prescribed by the Board (MRTB).

- Certification/Licensing

After successful accreditation exercise, the accredited institution shall be issued with a certificate/license of accreditation. Institutions with full accreditation status are renewable every five (5) years, partial accreditation is renewable every three (3) years and denied accreditation shall be reviewed after six (6) months to one (1) year.  After two (2) consecutive denials, such department will be shut down. Failure to renew this license as and when due attracts sanctions, which shall vary from:

- “Denial of students induction and licensing”

- De-accreditation of the Institution.

PHYSICAL FACILITIES

- A purpose-built departmental building with a conspicuous signpost in a clean and tidy environment.

- A hostel accommodation, well furnished with adequate water supply and electricity for the students.

- Adequate number of well-ventilated and illuminated classrooms with teaching facilities each with a capacity of not less than fifty (50) students.

- Well-ventilated and illuminated Practical Demonstration Rooms (Assessment room, casting technique room, leather workshop room, Gait training room, Appliance room, Lamination room, Workshop room, machinist/repair section room) with couch bed and chair fitting area with adjustable parallel walking rails, long wall mirror and upright sitting chairs for patients.

- Well-ventilated and illuminated pathology laboratories (Pathology lab, Orthotic lab, Chemistry lab, Biology lab, mobility-Aid design Laboratory).

The facilities for the course of studies shall include:

- HOD’s office with convenience and secretariat unit

- Minimum of eight (8) Office rooms/Staff rooms

- The Academic Time Table

- Well-ventilated and illuminated Tutorials/Seminar rooms

- Admission Requirements

- Student’s Lecture Notes

- Reasonable numbers of separate toilets for the staff and students (labelled male/female)

- Lecture Schedules

- Practical Exposure

- External Examiners Reports

- Student’s Mode of Dressing

- A departmental library with current textbooks and journals in Prosthetics and Orthotics courses.

- A departmental school bus for students

- Health and safety/fire extinguishers.

- Store

Basic Machineries/Equipments and Tools

| S/NO | EQUIPMENT | EXPECTED NUMBER |
| --- | --- | --- |
| 1. | Goniometer | 4 |
| 2. | Wrench | 2 |
| 3. | Alignment fixture for orthotic joints | 2 |
| 4. | Alignment fixture for prostheses | 4 |
| 5. | Allen key set | 4 |
| 6. | Bench vice | 4 |
| 7. | Bending brace | 2 sets |
| 8. | Spreading caliper (small & large) | 2 |
| 9. | Combination box and open-end wrench set | 2 |
| 10. | Vainer Caliper (small and large) | 4 |
| 11. | Floor-mounted drilling machine | 1 |
| 12. | Charger 100-240V AC 50-60Hz | 2 |
| 13. | Tabletop drilling machine | 2 |
| 14. | Hand drill (manual and electric) | 2 each |
| 15. | Complete toolbox | 2 |
| 16. | Curved seaming pliers | 3 |
| 17. | Cutting knife | 2 |
| 18. | Set of pliers | 2 |
| 19. | Deburring knife | 2 |
| 20. | Double open-end spanner set | 2 |
| 21. | Drill bit set for metal | 2 |
| 22. | Drill bit set for wood | 1 |
| 23. | Dust extraction system | 2 |
| 24. | Floor vise | 4 |
| 25. | Half round leather knife | 2 |
| 26. | Hand cabinet file (round, half-round, flat) | 2 |
| 27. | Hammer set (ball-peen, claw, rubber mallet, cross-peen, dead-blow) | 2 |
| 28. | Set of hexagon bits | 2 |
| 29. | Hole punch set | 2 |
| 30. | Sheet metal shears | 2 |
| 31. | Knee centre jig | 2 |
| 32. | Knives | 2 |
| 33. | Screwdriver set | 2 |
| 34. | Last cutter | 2 |
| 35. | Measuring tape | 3 |
| 36. | Metal hacksaw frame | 2 |
| 37. | Hacksaw blade | 4 |
| 38. | Mounting frame with Laser | 2 |
| 39. | Pipe reamer | 2 |
| 40. | Pipe spanner set | 2 |
| 41. | Precision saw | 2 |
| 42. | Precision spring compass | 2 |
| 43. | Revolving eyelet punch | 2 |
| 44. | Rivet set | 2 |
| 45. | Ruler | 2 |
| 46. | Sanding drum set | 2 |
| 47. | Scissors set (pinking shears, wave cut scissors, curved scissors, plaster scissors) |  |
| 48. | Screwdriver set | 4 |
| 49. | Scriber | 2 |
| 50. | Sharpening stone | 2 |
| 51. | Shoe measuring tape | 3 |
| 52. | Shoe patching machine | 2 |
| 53. | Shoe stretcher, locking | 2 |
| 54. | Slot punch | 2 |
| 55. | Sole cutter | 2 each |
| 56. | Silicon rolling mill |  |
| 57. | Protractor | 2 |
| 58. | Spring clamp | 10 |
| 59. | Stapler | 2 |
| 60. | Staple remover | 2 |
| 61. | Storage container | 2 |
| 62. | Surfoam file with handle (flat, half round, round) |  |
| 63. | Swivel chair | 2 |
| 64. | Tack remover | 3 |
| 65. | Tap and die set, HSS | 2 |
| 66. | T-Handled Hex wench | 4 |
| 67. | Tool cabinet/box | 2 |
| 68. | Torque screwdriver | 2 |
| 69. | Torque wrench | 2 |
| 70. | Tracing wheel | 2 |
| 71. | Tweezers | 2 |
| 72. | Vice jaws | 2 |
| 73. | Vise jaws protector | 2 |
| 74. | Wire cutter | 2 |
| 75. | Wire hand brush | 5 |
| 76. | Workbench for assembly | 2 |
| 77. | Workbench for lamination resin work | 2 |
| 78. | Workbench with drawer unit | 3 |
| 79. | Wench | 1 |

Mode of Dressing:-

- White Clinical Coats for Prosthetists/Orthotists

- Long Overall for Assistants because of workshop responsibilities, duties and involvement.

Signed:

PROF. RUFAI YUSUF AHMAD

REGISTRAR/CEO (MRTB)