(FORM B)

FORMAT FOR

AUDIOLOGY CLINICAL ACCREDITATION

EXERCISE

Prepared by

The Medical Rehabilitation Therapists

(Reg.) Board of Nigeria (MRTB)

1.      STAFF ACCREDITATION

The staff Accreditation form should be completed by each Audiologist prior to the screening exercise. Information about manpower/ human resource development and current practicing license should be documented.

- ACCREDITATION OF AUDIOLOGISTS

| S/N | Names | Gender | Date of First Appointment | Designation | MRTB License No. | Qualifications/ Certifications with Date | Areas of Specialization | NO. of CPD in the Last 12 Months |
| --- | --- | --- | --- | --- | --- | --- | --- | --- |
| 1 |  |  |  |  |  |  |  |  |
| 2 |  |  |  |  |  |  |  |  |
| 3 |  |  |  |  |  |  |  |  |
| 4 |  |  |  |  |  |  |  |  |
| 5 |  |  |  |  |  |  |  |  |
| 6 |  |  |  |  |  |  |  |  |
| 7 |  |  |  |  |  |  |  |  |
| 8 |  |  |  |  |  |  |  |  |
| 9 |  |  |  |  |  |  |  |  |
| 10 |  |  |  |  |  |  |  |  |
| 11 |  |  |  |  |  |  |  |  |
| 12 |  |  |  |  |  |  |  |  |
| 13 |  |  |  |  |  |  |  |  |
| 14 |  |  |  |  |  |  |  |  |
| 15 |  |  |  |  |  |  |  |  |
| 16 |  |  |  |  |  |  |  |  |
| 17 |  |  |  |  |  |  |  |  |
| 18 |  |  |  |  |  |  |  |  |
| 19 |  |  |  |  |  |  |  |  |
| 20 |  |  |  |  |  |  |  |  |
| 21 |  |  |  |  |  |  |  |  |
| 22 |  |  |  |  |  |  |  |  |
| 23 |  |  |  |  |  |  |  |  |
| 24 |  |  |  |  |  |  |  |  |
| 25 |  |  |  |  |  |  |  |  |
| 26 |  |  |  |  |  |  |  |  |
| 27 |  |  |  |  |  |  |  |  |
| 28 |  |  |  |  |  |  |  |  |
| 29 |  |  |  |  |  |  |  |  |
| 30 |  |  |  |  |  |  |  |  |
| 31 |  |  |  |  |  |  |  |  |
| 32 |  |  |  |  |  |  |  |  |
| 33 |  |  |  |  |  |  |  |  |
| 34 |  |  |  |  |  |  |  |  |
| 35 |  |  |  |  |  |  |  |  |
| 36 |  |  |  |  |  |  |  |  |
| 37 |  |  |  |  |  |  |  |  |

- SUPPORT STAFF ACCREDITATION

The Screening for Support Staff should be done after that of the Audiologists.

SUPPORT STAFF ONLY

| S/N | Names | Gender | Qualification | Present Rank | Evidence of Cont. Training | Job Description |
| --- | --- | --- | --- | --- | --- | --- |
| 1 |  |  |  |  |  |  |
| 2 |  |  |  |  |  |  |
| 3 |  |  |  |  |  |  |
| 4 |  |  |  |  |  |  |
| 5 |  |  |  |  |  |  |
| 6 |  |  |  |  |  |  |
| 7 |  |  |  |  |  |  |
| 8 |  |  |  |  |  |  |
| 9 |  |  |  |  |  |  |
| 10 |  |  |  |  |  |  |
| 11 |  |  |  |  |  |  |
| 12 |  |  |  |  |  |  |
| 13 |  |  |  |  |  |  |
| 15 |  |  |  |  |  |  |

- EVALUATION OF CONCEPTS AND APPROACHES ACROSS SPECIALTIES

Please provide the various concepts and approaches used for assessment, evaluation and treatment in the various specialty areas available.

| S/N | Areas of Specialization | Concepts | Approaches | Remarks |
| --- | --- | --- | --- | --- |
| 1 | Clinical Audiolgy |  |  |  |
| 2 | Paediatric Audiology |  |  |  |
| 3 | Geriatric Audiology |  |  |  |
| 4 | Rehabilitation Audiology |  |  |  |
| 5 | Vestibular Audiology |  |  |  |
| 6 | Cochlear Implant and Implantable Devices, |  |  |  |
| 7 | Occupational Audiology |  |  |  |
| 8 | Tinnitus Hyperacusis Management and Public Health Audiology |  |  |  |

- SPACE EVALUATION

| Items | Numbers Available | Floor Structure | General Condition | Overall Comments |
| --- | --- | --- | --- | --- |
| Offices |  |  |  |  |
| Treatment Cubicles |  |  |  |  |
| Changing Rooms |  |  |  |  |
| Patients Waiting Area |  |  |  |  |
| Hospital Wards/ Treatment side ward |  |  |  |  |
| Health Record Office |  |  |  |  |
| Consulting Rooms |  |  |  |  |
| Seminar Room |  |  |  |  |
| Departmental Library |  |  |  |  |
| Hospital Library |  |  |  |  |
| Staff Toilets |  |  |  |  |
| Patients’ Toilet |  |  |  |  |
| Departmental Store |  |  |  |  |

- LIST OF EQUIPMENT

- Universal Equipment for Audiology Departments.

- Diagnostic Equipment

| S/N | Item | Quantity |
| --- | --- | --- |
|  | Diagnostic Audiometer | 1 |
|  | Screening Audiometer | 1 |
|  | Portable Audiometer | 1 |
|  | Sound Treated Booth | 1 |
|  | Supra-Aural Headphones | 2 |
|  | Bone Vibrator | 1 |
|  | Patient Response Button | 1 |
|  | Speech Microphone/Talk Forward Mic | 1 |
|  | Sound Field Speakers | 1 |
|  | Otoscope | 4 |
|  | Tunning Forks | 2sets |
|  | Cerumen Management Kit | 2sets |
|  | Diagnostic Tympanometer | 1 |
|  | Immitance Meter | 2 |
|  | Eustachian Tube Function Module | 2 |
|  | Probe Tips And Ear Couplers | 2 |
|  | OAE Machine(TEOAE,DPOAE | 1 |
|  | ABR Machine | 1 |
|  | AABR New-born Screener | 1 |
|  | ASSR Machine | 1 |
|  | Electrodes | 2sets |
|  | Sin Prep Gel | 1set |
|  | Disposable Ear Tips | 2sets |
|  | Speech Perception Software | 1 |
|  | Speech Audiometry Test Materials | 1set |
|  | Auditory Processing Test Materials | 2sets |
|  | Tinnitus Matching Modules | 1 |

- Safety equipment

| S/N | Name of Equipment | Total Number Required | Available Quantity | Functionality |
| --- | --- | --- | --- | --- |
| 1 | Alarm | Should be Placed in strategic locations |  |  |
|  | Fire Extinguisher | Should be available in strategic locations |  |  |
|  | Blanket | Many |  |  |
|  | Intercom | - |  |  |
|  | Fire Assembly Point | Should be Placed in strategic locations |  |  |
|  | Sand Bucket | Should be Placed in strategic locations |  |  |
|  | Clearly marked direction to Muster Point | Should be Placed in strategic locations |  |  |

- Infection Control

| S/N | Name of Equipment | Required Quantity | Available Quantity | Functionality |
| --- | --- | --- | --- | --- |
| 1 | Face Masks | 3 Packs (at any point in time) |  |  |
| 2 | Disposable Gloves | 3 Packs (at any point in time) |  |  |
| 3 | Sputum Containers | 3 |  |  |
| 4 | Sterilizing Unit | 1 |  |  |
| 5 | Autoclave | 1 |  |  |
| 6 | Antiseptic Solution | 1 carton |  |  |
| 7 | Washing Machine | 1 |  |  |
| 8 | Drying Machine | 1 |  |  |

- Consumables

| S/N | Name of Equipment | Required Quantity | Available Quantity | Functionality |
| --- | --- | --- | --- | --- |
| 1 | Disposable Electrode Pads | 20 |  |  |
| 2 | Acohol Swab | 25 |  |  |
| 3 | Probe Tip Seals | 30 |  |  |
| 4 | Aural Impression Syringe | 20 |  |  |
| 5 | Disposable Gloves | 10 packs |  |  |
| 6 | Tissue Papers | 20 |  |  |
| 7 | Face Masks | 2packs |  |  |
| 8 | Hearing Aid Batteries | 5packs |  |  |
| 9 | Clearing Wipes | 30 |  |  |
| 10 | Cochlear Implant Cable Cover | 20 |  |  |
| 11 | Silicone Impression Material | 10 |  |  |
| 12 | Lubricants | 10 |  |  |
| 13 | Marking Pencils | 15 |  |  |
| 14 | Disposable Trimming Blades | 2packs |  |  |
| 15 | Ear Tips | 10 |  |  |
| 16 | Retention Locks | 10 |  |  |
| 17 | Clearing Brushes | 5 |  |  |
| 18 | Impression Blocks | 10 |  |  |

- EQUIPMENT BY SPECIALTY

CLINICAL AUDILOGY UNIT

| S/N | Item | Quantity |
| --- | --- | --- |
| 1 | Clinical/Diagnostic Audiometer | 1 |
| 2 | Portable Screening Audiometer | 1 |
| 3 | Sound-Treated Room | 1 |
| 4 | Insert Earphones | sets |
| 5 | Supra-Aural Headphones | 2 |
| 6 | Bone Vibrator | 2 |
| 7 | Speech Microphone | 2 |
| 8 | Patient Response Button | 1 |
| 9 | Otoscope/ Videoscope | 3 |
| 10 | Tympanometer/ Immitance Meter | 1 |
| 11 | Acoustic Reflex Analyzer | 1 |
| 12 | OAE Machine | 1 |
| 13 | ABR/ASSR System | 1 |
| 14 | Tunning Fork | stes |
| 15 | Laptop And Audiology Software | 1 |
| 16 | Printer / Recording System | 1 |
| 17 | Calibration Tools | set |
| 18 | Cerumen Management Kit | set |

PAEDIATRIC AUDIOLGY UNIT

| S/N | Item | Quantity |
| --- | --- | --- |
|  | OAE | 1 |
|  | AABR /New-born Hearing Screening | 1 |
| 3. | Diagnostic ABR/ASSR | 1 |
|  | VRA Setup(lights, animated toys , video reinforcement) | set |
|  | Conditioned Play Audiometry Toys | set |
|  | Sound Filled Speakers | 2 |
|  | Paediatric Insert Earphones | 2 |
|  | Distraction Toys | set |
|  | Reinforment Box | 2 |
|  | Visual Reward Display | 2 |
|  | Pediatric Hearing And Verification Tools | 2 |
|  | Developmental Screening Materials | set |

GERIATRIC AUDIOLOGY UNIT

| S/N | Item | Quantity |
| --- | --- | --- |
|  | Clinical/Diagnostic Audiometer | 1 |
|  | Portable Screening Audiometer | 1 |
|  | Sound-Treated Room | 1 |
|  | Insert Earphones | sets |
|  | Supra-Aural Headphones | 2 |
|  | Bone Vibrator | 2 |
|  | Speech Microphone | 2 |
|  | Patient Response Button | 1 |
|  | Otoscope/ Videoscope | 3 |
|  | Tympanometer/ Immitance Meter | 1 |
|  | Acoustic Reflex Analyzer | 1 |
|  | OAE Machine | 1 |
|  | ABR/ASSR System | 1 |
|  | Tunning Fork | sets |
|  | Lptop And Audiology Software | 1 |
|  | Printer / Recording System | 1 |
|  | Calibration Tools | sets |
|  | Cerumen Management Kit | sets |

REHABILITATION AUDIOLOGY SUNIT.

| S/N | Item | Quantity |
| --- | --- | --- |
|  | Hearing Aids (BTE,RIC,ITE,CIC) | set |
|  | Hearing Aid Programing Software | 1 |
|  | Hearing Aid Programmer | 1 |
|  | Real Ear Measurement(REM)System | 2 |
|  | Hearing Aid Analyser/Test Box | 1 |
|  | Earmold Impression Syringe | set |
|  | Ear Tips And Domes | set |
|  | Hearing Aid Batteries/Charges | set |
|  | FM Systems /Remote Microphone Systems | 1 |
|  | Loop System | 1 |
|  | Auditory Training Software | 1 |
|  | Speech Perception Test Materials | set |
|  | Counselling Materials | set |
|  | Communication Strategy Hand outs | 3 |
|  | Assistive Listening Device | 2 |

VESTIBULAR AUDIOLOGY UNIT

| S/N | Item | Quantity |
| --- | --- | --- |
|  | ENG/VNG System | 1 |
|  | Infrared Video Goggles | 1 |
|  | Frenzel Goggles | 1 |
|  | Caloric Irrigator | 1 |
|  | Rotary Chair | 2 |
|  | VEMP Machine | 1 |
|  | Computer And Balance Software | 1 |
|  | Posturography System | 1 |
|  | Foam Balance Pad | 1 |
|  | Gait Assessment Walkway | 1 |
|  | Dix-Hall pike Couch/Examination | 2 |
|  | Safety Harness | 2 |
|  | Vestibular Rehab Exercise Tools | set |

COCHLEAR IMPLANT AND IMPLANTABLE DEVICES UNIT

| S/N | Item | Quantity |
| --- | --- | --- |
|  | Cochlear Implant Programing Software | 1 |
|  | Mapping | 1 |
|  | Speech Processor | 1 |
|  | Transmitting Coil | 1 |
|  | Telemetry/ECAP System | 1 |
|  | Speech Perception Test Materials | set |
|  | CI Troubleshooting Kit | set |
|  | Battery And Charger System | 3each |
|  | Bone-Anchored Hearing Device Programming Kit | 2 |
|  | Laptop Workstation | 1 |
|  | Intraoperative Monitoring Interface(Advance Centres | 1 |
|  | Rehabilitation Listening Materials | Set |

OCCUPATIONAL AUDIOLOGY UNIT

| S/N | Item | Quantity |
| --- | --- | --- |
|  | Portable Audiometer | 1 |
|  | Mobile Audiometric Booth | 1 |
|  | Noise Dosimeter | 1 |
|  | Sound Level Meter | 1 |
|  | Octave Band Analyzer | 1 |
|  | Hearing Protection Fit-Testing System | 1 |
|  | Earplugs And Ear Earmuffs | 2 |
|  | Hearing Conservation Software | 1 |
|  | Record Management Software | 1 |
|  | Worker Counselling Materials | set |
|  | Potable Otoscope | 5 |
|  | Industrial Noise Survey Kit | set |

TINNITUS HYPERACUSIS MANAGEMENT AND PUBLIC HEALTH AUDIOLOGY UNIT

| S/N | Item | Quantity |
| --- | --- | --- |
| 1 | Clinical Audiometer | 1 |
| 2 | High-Frequency Audiometer | 1 |
| 3 | Tinnitus Matching Modules | 3 |
| 4 | Loudness Discomfort Level (LDL) Tools | 4 |
| 5 | Tinnitus Questionnaires (THI,TFI) | 3 |
| 6 | Sound Therapy Generators | 2 |
| 7 | Tinnitus Maskers | 3 |
| 8 | Combination Hearing Aids | set |
| 9 | White Noise Generators | 1 |
| 10 | Counselling Software/CBT Materials | 5 |
| 11 | Relaxation Audio Library | 1 |
| 12 | Public Health Screening Audiometer | 1 |
| 13 | OAE Screener | 1 |
| 14 | Noise Awareness Education Kits | set |
| 15 | Community Outreach IEC Materials | set |
| 16 | Ear Protection Demonstration Kits | set |

Signed:

sREGISTRAR/CEO (MRTB)